Unlocking potential for large-scale waste treatment plants with a focus on energy recovery:

Lessons learned from Cambodia, Lao PDR, and Vietnam.

Policy Paper - October 2021

Imprint

Published by:

The Global Green Growth Institute

Acknowledgement:

This report was developed under the supervision of Jaeseung Lee (Mekong regional representative, GGGI), Shomi Kim (Co-lead, Waste Community of Practice, GGGI), Jerome Fakhry (Senior regional program officer, GGGI), Tero Tapio Raassina (Country Representative of Thailand and Principal investment specialist, GGGI) and was authored by Pierre Telep (Climate Platform, Consultant), Dr Benyoh Emmanuel Kigha Nsafon (Climate Platform, Consultant) and Michael O´Neill (Climate Platform, Consultant) with direct inputs from Shomi Kim, Jerome Fakhry, and Thinh Tran (GGGI). Valuable reviews and contributions were provided by GGGI colleagues, from Vietnam (Huong Ta), from Cambodia (Sut Samedy), from Lao PDR (Christophe Assicot, Ankit Bhatt).

Design/layout:

Contents

Executive Summary	5

1. Current situation of MSW in Mekong countries	7

1.1 Large-scale waste treatment	7

1.2 Outlook of Municipal solid waste in Cambodia, Lao PDR and Vietnam	8

2. Project assessment, strategic planning, and development	11

2.1 Technology and infrastructure options for large scale treatment for municipal SWM	11

2.1.1. Mechanical and biological treatment	11

2.1.2. Waste to energy technology	13

2.1.3 Techno-economic considerations	16

2.2 Potential benefits, environmental and social impacts	20

2.2.1 GHG reduction	20

2.2.2 Job creation	22

2.2.3 Security of energy supply	22

2.3 Potential for development of LSWTP in Cambodia, Lao PDR and Vietnam	23

2.3.1 Cambodia	23

2.3.2 Lao PDR	23

2.3.3 Vietnam	23

3. Enabling environment and risk management	26

3.1 Policy and regulatory barriers and opportunities	26

3.2 Feedstock supply chain and risk management	27

3.3 Business model development challenges and opportunities	28

3.3.1 Private sector investment	28

3.3.2 Common initiative groups	29

3.3.3 Public Private Partnerships	29

3.4 Experience of local stakeholders	30

4. Financing options	34

4.1 Private sector and commercial finance	34

4.2 Public Private Partnerships with Municipalities	36

4.3 Climate Finance	37

5. Recommendations for scaling-up at the regional level	39

References	41

List of Acronyms:

AD: 		Anaerobic Digestion

CAPEX: 	Capital Expenditure

DFI:		Development Financial Institution

EVN:		Vietnam Electricity Corporation

FIT: 		Feed-in-Tariff

GHG: 		Greenhouse Gas

HCMC: 	Ho Chi Minh City

IPP: 		Independent Power Producer

LSWM		Large-scale Waste Management

LSWTP		Large-scale Waste Treatment Plant

MBT: 		Mechanical and Biological Treatment

MoC:		Ministry of Construction Vietnam

MoNRE	Ministry of Natural Resources and Environment

MPWT		Ministry of Public Works and Transport Lao PDR

MSW: 		Municipal Solid Waste

MSWTE: 	Municipal Solid Waste to Energy

NDC: 		Nationally Determined Contribution

OPEX: 		Operational Expenditure

PPA: 		Power Purchase Agreement

W2E: 		Waste to Energy

W2F: 		Waste to Fuel

RDF: 		Refuse Derived Fuel

RE: 		Renewable Energy

SOE:		State-Owned Enterprise

SWM:                Solid Waste Management

TPA: 		Tons Per Annum

TPD: 		Tons Per Day

UNFCCC: 	United Nations Framework Convention on Climate Change

US$:                  United States Dollar

# Executive Summary

The urban share of the world population is projected to reach two thirds by 2050. Fast growing municipal solid waste (MSW) generation in low-middle income countries has become one of most pressing urban issues for many developing nations. The increasing amount of waste generation is giving pressures to municipal government on increasing waste treatment capacity as the traditional method of landfilling is costly both economically and environmentally. In the three Mekong River countries (Cambodia, Lao PDR, Vietnam), adoption of a large-scale municipal solid waste treatment infrastructure with a focus on energy recovery presents an opportunity for sustainable management of the MSW while reducing the negative environmental impact.

Opportunity

This paper aims to share the lessons learned from large-scale mechanical biological treatment (MBT) plants being developed, with assistance from GGGI, in Cambodia and Lao PDR, and W2E facilities in Vietnam., This paper also assesses the market potential, the policy framework as well as challenges and opportunities with regards to turning the waste problem into an opportunity that delivers environmental, climate and socio-economic impacts in the respective countries.

Solution

A detailed market assessment has confirmed the financial and technical feasibility of MBT plants as an option that can be employed to produce Refuse Derived Fuel (RDF) to partially displace the use of coal in cement factories in Cambodia and Lao PDR. In Vietnam where the extent of the waste challenge is wider, the Government has created an enabling environment for Waste to Energy (W2E) plants. Vietnam Electricity Corporation (EVN) has the responsibility to buy 100% of energy generated by renewable energy (RE) generators, including from W2E projects, which are considered in Vietnam as RE.

MBT and W2E plants extend the life of the scientific landfills and help in reducing GHG emissions.

Conclusions

International lenders are willing to provide financing for MBT projects in Cambodia and Lao PDR, and W2E projects in Vietnam, though some concerns still lie on the viability of the underlying technology of W2E, and the long term off-taker associated risks for MBT outputs. While GGGI is working on reducing these risks by assisting the development of bankable MBT and W2E projects and communicating with local banks about the provision of debt financing, the extent of MSW and current trends appeal for innovative solutions to the problem of increasing waste generation.

Whether MBT or W2E plants, sustainable waste management projects with a focus on energy recovery can generate positive financial returns, up to 13.5% at project level and up to 19% on equity (based on GGGI assessments), under the condition that the off-take agreement is made at the market price, making such investments attractive to the private sector. Sustainable waste management practices, whether for energy generation or for by-products such as RDF or natural agricultural compost can provide positive social impacts in the form of employment opportunities while also delivering a positive impact on climate.

Various financial instruments such as equity, commercial and concessional debts, or grants support transaction advisory can play a useful role in promoting sustainable waste management practice in the region. Through the blended finance approach, the available public finance sources can be employed to reduce overall cost of capital and de-risk early-stage technology adoption, enhancing the confidence of local investors and financiers to catalyze private investment in MSW. Moreover, a carbon market framework that compensates the climate attributes of MSW projects can provide alternative revenues to bridge the gap between low gate fees and revenue requirements for sustainable waste management projects. Building on GGGI’s experience on the ground and the outcome of market assessment, this paper provides key recommendations on policy, market development, and financing.

Recommendations for scaling up LSWTP at the regional level

- Policy and regulatory improvement for large-scale waste treatment plants (LSWTP)

- Leverage blended finance mechanism to unlock access to domestic finance

- Capacity building for social and behavioral change

# 1. Current situation of MSW in Mekong countries

## 1.1 Large-scale waste treatment

MSW generation is rapidly rising around the world, with over 2 billion tons generated annually. This amounts to a footprint of 0.74 kilograms per person per day [1]. Global annual solid waste generation is expected to grow to 3.40 billion tons by 2050, driven by rapid population growth and urbanization [2].  MSW is growing even faster than the rate of urbanization and presents multiple environmental, climate and social threats. It is estimated that the number of urban residents generating MSW globally will increase from 3 billion to 4.3 billion between 2012 and 2025 and the amount of MSW generated per capita per day will also increase from 1.2kg (1.3 billion tons per year) to 1.42 kg (2.2 billion tons per year) respectively [3].  Part of the solution is to develop large-scale waste treatment plants (LSWTP) to manage the increasing quantity of unsegregated MSW.

Some emerging economies like South Africa and China have designed LSWTP that can treat large amounts of organic material per day [4]. There have also been successful implementations of W2E incinerators and MBT plants in countries such as India, Indonesia and Thailand. The technology has proven so far to be efficient in managing large quantities of MSW especially unsegregated municipal waste.  Moreover, this approach presents an additional opportunity for professional quality control in waste handling, as well as proper monitoring of emissions from disposal sites.

Innovative waste management techniques are also gaining interest in Asian countries for treating MSW in megacities [5], yet it is a matter of urgency that action is taken regarding the management of MSW. The fast-growing cities of Cambodia, Lao PDR, and Vietnam in the Mekong region are no exception. There is a need for large-scale solutions for the treatment of waste that are financially and environmentally sustainable. Sustainable treatment of MSW does not only offer an opportunity to reduce the quantities of waste requiring disposal, but it also provides an opportunity for circularity, with the creation of new revenue streams. This is the case for instance, where waste is converted to biogas or when organic waste is recovered into composted materials to improve agricultural outputs, positively contributing to climate mitigation.

Figure 1. Projected waste generation, by region [2]

While waste minimization and source separation should be increasingly prioritized overtime, MSW disposed at landfills in most developing nations currently needs to be managed as a mixture. This gives rise to the need for large-scale waste treatment plants. Such facilities can minimize the environmental impacts and maximize resource recovery from MSW.

## 1.2 Outlook of Municipal solid waste in Cambodia, Lao PDR and Vietnam

MSW is a mixture including food waste, paper, plastic, rags, glass, textile, rubber, leather, metal, stones and ceramics generated from residential, municipal, community, commercial, institutional, and medical activities. The composition of MSW can vary from one country to another, but organic materials are generally the largest component of MSW which accounts for 60-70% in low-middle income countries. Rapid population growth, urbanization, and change in consumption patterns in Cambodia, Lao PDR and Vietnam have resulted in an increase in the amount of MSW generation.

- Cambodia

In 2016 it was estimated that 4.24 million tons of MSW was generated across the country [6]. On average, every Cambodian is currently estimated to generate about 0.73 kg per day of solid waste [7].

MSW collection and transportation in Cambodia is generally contracted to private companies, under the supervision of local authorities and technical line agencies. The collection rate varies greatly depending on the city, and collection is generally focused on city centers and roads large enough to accommodate collection trucks. In Phnom Penh, the capital city, to address growing difficulties in waste collection, the city was divided into three zones serviced by three separate private waste contractors, with an online payment system currently being established.

In 2019, around one million tons of MSW was sent to the Dangkor landfill in Phnom Penh, growing at an annual rate of 12% [8]. Dangkor is the only MSW landfill to service the entire city, it is located about 10 km from the city center and is reaching full capacity. [9]. Another smaller landfill is used for industrial waste, such as garments. The last detailed composition of MSW arriving at the Dangkor landfill was conducted in 2015 and is presented in Table 1 below.

- Lao PDR

According to the survey conducted by GGGI, the average waste production per capita in Vientiane in Lao PDR is estimated at 0.75 kg per day [11], amounting to 5,787 TPD and approximately 2.1 million tons per year for an estimated population of 7 million nationwide. Waste composition has been presented in Table 1.

Waste generation has increased significantly in urban centers of Lao PDR, with only about 45-50% being collected [12]. MSW collection is highly dependent on the numbers of available waste collection trucks and received waste collection fees by residents. In small cities, waste is mostly disposed in private land or open space. However, in the Vientiane Capital city, solid waste is handled by a public company established under the Vientiane City Office for Management and Service (VCOMS) and eight private companies directly contracted by VCOMS. According to findings conducted by GGGI [10], VCOMS is responsible for about 40-50% of the total waste collected in the Vientiane Capital city while the remaining waste is collected by the eight private companies. The lack of suitable technologies and adequate waste management practices have prompted open dumping and burning as the most common practice for waste disposal [13].

- Vietnam

Vietnam has experienced a rapid growth, along with industrialization and urbanization that has led to significant shifts in production and consumption patterns. Vietnam produces more than 27.8 million tons per year of waste from various sources [14], and the volume of waste is projected to increase by 10–16% per year [15]. The composition of waste in Vietnam highly varies from one city to another. However, the current estimates for waste composition show a high content of organic material (Table 1).

Waste collection in Vietnam is still traditional and travel distances to landfill sites are long due to a shortage of storage stations. Households mostly dispose of waste in plastic bags in front of homes, which are collected by waste workers handcarts. According to MONRE National Environment Report in 2019 [15], the waste collection rate was 78% of total waste generation, of which landfilled accounted for 71% of collected waste, the remainder treated by either incineration without energy recovery or composting. Also, among the available 904 landfills, only 20% are hygienic while 80% are unhygienic. Consequently, there is a need for modern MSW infrastructures for managing the collection, storage, transport, disposal, and treatment of the anticipated growing quantities of solid waste produced every day.

Table 1. Composition of MSW in Cambodia, Lao PDR and Vietnam

| Composition | Fraction (%) |  |  |
| --- | --- | --- | --- |
|  | Cambodia [16] | Lao PDR [17] | Vietnam [14] |
| Food waste | 49.2 | 44.9 | 70.8 |
| Plastics | 21.1 | 11.7 | 16 |
| Wood and leaves | 6.7 | 23.4 | 1.2 |
| Paper | 6.5 | 8 | 1.0 |
| Textile | 8.0 | 0.3 | 1.8 |
| Nappies | 2.9 | NA | NA |
| Glass | 1.4 | 3.3 | 0.3 |
| Rubber and leather | 0.7 | NA | 0.7 |
| Metal | 1.1 | 0.1 | 0.2 |
| Stones and ceramics | 1.5 | NA | 0.3 |
| Hazardous waste | 0.2 | NA | 0.1 |
| Others | 0.5 | 7.6 | 7.6 |

*Others refers to all other waste not listed on the table

# 2. Project assessment, strategic planning, and development

On a global scale, technological innovation has improved the successful deployment of solutions for large-scale waste treatment. The application of technological innovation however depends on the specific conditions of each county. Technical feasibility is performed to determine the likelihood that a given technology would deliver economic viability when implemented in a specific country given a set of indicators. Conducting a technology feasibility is the initial process to determine the possibility for success when implementing a project. This chapter aims to explore the feasibility of developing large-scale MSW treatment facilities by evaluating the implementation costs for different technologies. Pre-feasibility studies, as a part of the Global Green Growth Institute’s (GGGI) sustainable waste treatment programs, were conducted for different technologies in Cambodia, Lao PDR and Vietnam. The pre-feasibility studies comprehensively analyzed the techno-economic, environmental, and social sustainability of different MSW management technologies.

### 2.1. Technology and infrastructure options for large-scale treatment for municipal SWM

### 2.1.1. Mechanical and biological treatment

Mechanical and Biological Treatment (MBT) is the mechanical processing of unsegregated waste combined with a form of biological treatment such as composting or anaerobic digestion (AD). The mechanical processing recovers recyclable materials, removes inert materials and contaminants (glass, stones, etc.), removes moisture, and increases the calorific value. The main output is Refuse Derived Fuel (RDF) which can partially replace coal in cement plants and be used in a standalone W2E facility. This approach is considered the most suitable alternative for Cambodia and Lao PDR to reduce the organic fraction of MSW compared to landfilling or incineration [19]. Biological pre-treatment process can also be used to reduce moisture content in the RDF fraction.

The AD component breaks down micro-organisms to produce biogas which can be used to produce heat or electricity. In the case of Cambodia, a suitable MBT set up is to combine RDF as the main output, with a small AD module without grid connection to self-power the system. Depending on the size of the site and the quality of the organic fraction, composting is another option that could be incorporated into the system to generate organic compost for agriculture, which is the selected option for the Lao PDR project. The organic fraction that is too contaminated for use for agricultural soils can be applied to old landfills for soil rehabilitation.

In both countries, RDF can be used as a partial replacement for coal in cement factories. Such co-processing in cement kilns has the advantage that the clinker reactions at around 1400°C allow a complete incorporation of ashes, including heavy metals, into the clinker material. Toxic organic compounds are destroyed in the flame at higher temperatures of more than2000°C. Direct substitution of primary fuel in the production process represents significantly more efficient energy recovery than traditional waste to energy technologies such as incineration, typically achieving 85–95% efficiency depending on waste characteristics. Given the off-take potential for RDF in the proximity of Phnom Penh and Vientiane, MBT facilities are a more financially viable waste management solution for Cambodia and Lao PDR compared with more capital-intensive incineration plants.

Figure 2. Schematic illustration of mechanical biological treatment options [21]

### 2.1.2. Waste to energy technology

The fact that a greater portion of MSW generated around the world is biodegradable and can be replenished within human lifespan, MSW is considered as a large source of RE [20] W2E technologies transform solid waste into either biogas which then can be used for clean fuel or electricity generation. When such approaches are compared with traditional landfill practice, W2E reduces the amount of landfill disposals, while mitigating greenhouse gases (GHGs) emissions due to anaerobic decomposition of organic waste in landfills.

Different energy recovery processes are available from MSW. RDF is one of them and recovers the calorific value of solid waste. RDF is made of combustible solid wastes like high content of plastics, paper, wood and other dry organic matter which are not recyclable due to cross-contamination [22], and the composition varies with season, location of waste collection and efficiency of MSW sorting [23]. Though incineration of waste is one of the most common methods being investigated for waste management in Asia due to its perceived simplicity [24], mass burning of waste is inefficient due to the high moisture content. The waste first must be pre-processed before combustion, effectively turning it into RDF, with the heat produced used to produce steam which is then used to turn turbines and generate electricity. This process requires relatively high upfront capital expenditures and making it commercially viable would require high gate fees and adequate feed-in-tariffs.

As a densely populated lower middle-income country, it is observed that Vietnam faces more environmental challenges compared to Cambodia and Lao PDR due to higher volumes of waste. Vietnam generates almost 28 million tons of MSW on a yearly basis, increasing by 12% annually. In Vietnam MSW, which makes up 7% of Vietnam’s total annual GHG emissions, is generally disposed in landfills. At present, the total waste collection rate in Vietnam is 78% of waste generated of which, the amount of landfilled treatment accounts for 71% of collected waste. The rest is treated by either incineration without energy recover or composting. There are about 904 operating landfills in Vietnam, of which 20% are hygienic and 80% are non-hygienic [15]. Vietnam, as a much larger country than Cambodia and Lao PDR, requires therefore a different solution to address waste management issues.

A feasibility study for W2E approaches in Bac Ninh province was conducted and the conclusion is that direct incineration of RDF with energy recovery would be financially viable. About ten different active W2E projects exist in Vietnam and several other projects are currently under development. The Soc Son W2E project in Nam Son Waste Treatment Complex will be the largest in Vietnam and second largest in the world upon completion in 2021, with a capacity for handling 4,000 tons of MSW per day. It is expected that 75MW of power will be generated at the facility. According to EVN [25], Vietnam has signed PPA as of early 2019 with three W2E developers including Go Cat project HCMC (2.4 MW), Can Tho project (6 MW) and Nam Son project (0.6 MW).

Figure 3. Typical schematic illustration of W2E incineration plant [26]

BOX 1: Selected Schemes for MSW Treatment Technology

LSWTP has been identified by GGGI as part of a standard set of policy prescriptions for MSW management in Cambodia, Lao PDR and Vietnam. The selection of a particular waste treatment technology depends on the overall enabling framework in each selected country. An overview of the selection criteria has been presented below: - Cambodia – MBT with RDF and AD - Proximity of four cement factories (<120km) from Phnom Penh are reliable offtake partners that currently depend on coal and are ready to consider RDF as an alternative source of energy. - Conversely, the cost of retailed electricity (about US$0.12-US$0.15 per kWh) in Cambodia is high, while proposed feed-in tariffs are low, impeding the development of W2E facilities. Therefore, the electricity generated from biogas can be used for plant production only and not for sale, hence reducing OPEX. - In terms of calorific value, 2 tons of RDF is needed to replace 1 ton of coal. Moreover, the long-term average price of coal is estimated at US$80 per ton compared to projected price of US$25 per ton for RDF. - Gate fees are not common practice, limiting the scope of more expensive technologies However, a gate fee of about US$5 per ton is required for financial viability. - Lao PDR – MBT with RDF and composting - W2E technologies like incineration are not feasible due to low FIT. It is important to note that Électricité du Laos is offering a low FIT (less than US$0.05), contrarily to US$0.08 per kWh requested by investors to make W2E investments bankable. - Agriculture is the main activity in Lao PDR with high demand for fertilizer. Imports of chemical fertilizers to Lao PDR cost an average 500 US$ per ton, compared to 200-270 US$ per ton for locally produced organic fertilizer [27] - Annual imports of organic fertilizer in 2019 were recorded at 25,000 tons, and to meet the production capacity of rice and crops, about 768,000 tons per year of organic fertilizer is required. Therefore, composting from the MBT plant has a ready local market in Lao PDR [27] - There are four cement factories who are the potential off-takers of RDF, located within (<120km) of the landfill in Vientiane Capital. The market price for imported coal is between US$90 -120 per ton, which makes RDF comparative in price, however convincing the cement factories to use RDF has been a challenging task as it is not practiced locally. - Vietnam – W2E - The government has secured an enabling environment for W2E investments. Landfill gate fees are varied by provinces and can be high (up to US$22 per ton [37b] in some provinces) compared to Cambodia and Lao PDR. The government has put in place FIT (i.e., US$ 10.95 cent/kWh) that makes W2E projects feasible. - Unlike the case of Cambodia and Lao PDR, there are enabling policies to offtake energy from the W2E project. Moreover, EVN has the responsibility to buy 100% of energy generated by RE generators, including W2E. - Based on GGGI’s findings of a W2E project implemented in 2018, W2E technologies are feasible, and more accessible to financers.

### 2.1.2 Techno-economic considerations

Techno-economic viability is used as a measure to assess the sustainability potential of a project and to determine whether a given technology can be successfully applied for sustainable operation. The volume, composition, and energy content of the MSW, and including the capital expenditure and enabling frameworks are strong determinant factors in deciding a suitable waste management technology. For example, waste composition with high organic matter is suitable for MBT aiming at treatment of organic matters from the municipal waste through anaerobic digestion or windrow composting.

- Cambodia

The results of a pre-feasibility study on the development of an MBT in Cambodia that combines an RDF plant with 1.7 MW anaerobic digestion (AD) to self-power the RDF plant showed that MBT is a feasible option for sustainable management of MSW in Phnom Penh, Cambodia. Electricity generation from the AD generation was considered due to the high price of electricity in Cambodia (Table 2). The study assumed that the RDF plant would be operating with a capacity of 1,100 tons of waste per day. Results show that for a projected concession period of 30 years, the project will cost ca. 19,620,000US$ with an RDF output of 500 tons per day over 288 days of running time, resulting in an equity IRR in the tune of 12-19%. The business model foresees sales of RDF to cement factories while additionally generating revenues from gate-fee collection. The technical and economic breakdown of the pre-feasibility study for developing an RDF plant has been presented in Table 2. It should be noted that due to the large-scale needed for financial viability, such projects are currently only limited to Phnom Penh.

- Lao PDR

In Lao PDR, GGGI conducted a pre-feasibility study on the development of an MBT that combines an RDF plant and open windrow composting (Table 2). The project assumed that at peak capacity, the plant will process 700 tons of unsegregated MSW including up to 200 tons of old waste mined from the landfill during the first ten years. The business model which combines sales of RDF, compost and gate-fee collection has an indicative financial viability of both project and equity IRR in the 13-20% range.

The results of the study also show that for Vientiane, it is preferable to select a semi-automated plant to keep the investment cost down and retain jobs for the informal waste pickers at the landfill. A typical plant would include shredders, feeders, screens, conveyors, magnetic current separators, odor/dust control and potentially dryers (depending on cost). For unsegregated MSW, there will be a need to properly pre-shred the waste to open plastic bags and avoid jamming of the equipment. The process involves separating organics, too heavy and too light fractions, recyclables and contaminants and shredding to the required size. In the case of Rayong (Thailand), from the MSW received, 35% is turned into RDF, 40% is separated organics, 20% rejects (fine and heavy fraction) and 5% is recycled. The percentage of RDF can be increased by adding waste mined from the landfill and possibly dryer industrial waste (IW) such as textiles.

In addition to energy recovery, aerobic composting represents an additional advantage for operating MBT plants in Vientiane. MBT may be designed for biologically stabilized organic waste to be used for soil applications. The aerobic treatment offers a sustainable waste management strategy that combines waste stabilization and nutrients recovery into composting. The separated organic fraction from the MBT plants will be combined with other source separated organic waste like food for composting. It is worth noting that about 80% of the population in Lao PDR lives in rural areas and most are subsistence farmers engaged in agriculture [28], so the compost produced from organic waste could be utilized for soil improvement. The pre-feasibility study results show that, assuming a 25%conversion rate, 200 TPD of organic waste will yield up to 50 TPD of compost.

MSW and MBT residues have been proven to compost effectively, having similar characteristics and outcome as green waste-derived composts [29]. It is important to note that the anaerobic degradation of organic waste in landfills is the main source of GHG, in the form of CO2 and CH4. The application of aerobic treatment of MBT-derived organic waste can play a significant role in effectively reducing the volume and toxicity of waste disposed into the landfill, while also mitigating greenhouse gases. According to the study “Bio-stabilization of municipal solid waste” [30], MBT residue compost has the potential to produce a low impact waste which yields 82% less GHG emissions than untreated landfilled waste. In addition, MBT is considered very cost-effective for Lao PDR because compared to other MSW treatment technologies, MBT requires a gate fee of US$ 2-5 per ton, compared to US$ 15 per ton and US$ 20 per ton for landfill and incineration respectively [31].

Table 2. Technical and economic breakdown of MBT plant in Cambodia and Lao PDR

| Component | Description |  |
| --- | --- | --- |
|  | Cambodia | Lao PDR |
| Designed capacity | 1,100 TPD (input), 500 TPD (output) | 700 TPD MSW input |
| RDF-to-MSW ratio | 46% (fresh MSW, landfill mining or IW input) | 39% (fresh MSW, landfill mining or IW input) |
| Technology | Semi-automated and AD self-powered RDF plant | Semi-automated RDF plant + open windrow composting |
| RDF market price | US$ 25/ton | US$30/ton |
| Coal market price | US$ 80/ton (in mid-2019) | US$90/ton (in early 2020,) |
| RDF-to-coal caloric ratio | 3,000/5,500 or 1/2 | 3,000/5,500 or 1/2 |
| RDF-to-coal ratio | 20/80 (based on CV) | 20/80 (based on CV) |
| Organic fertilizer market price | NA | 200-270 US$ |
| Organic compost market price | NA | 170 US$ |
| Investment size (excl VAT?) | US$ 19,620,000 (excluding land) | US$ 15.07 million (excluding land) |
| Capital structure | 70/30 debt/equity | 70/30 debt/equity |
| Gate fee | US$ 5/ton (based on 1,100 TPD input) | US$ 4.4/ton applied to 40% of the waste disposed |
| Expected operation days | 288 days per year | 343 days per year |
| Project IRR | c. 12.54% | c. 13.30% |
| Equity IRR | c. 18.93% | c. 19.50% |

- Vietnam

In Vietnam, MSW can be used as a renewable source of energy through various W2E technologies. Incineration to energy is one of the W2E technologies practiced in Vietnam. This technology involves burning of waste in furnaces and using the heat produced to generate useful power in the form of electricity or heat. Compared to other technologies, incineration is effective as a waste management approach since it significantly reduces the volume of waste treated. Waste incineration with energy recovery had earlier been practiced in Vietnam to treat hazardous waste in hospitals and this approach can deliver benefits in terms of peoples’ safety in times of the COVID-19 pandemic, especially in the absence of enforcement measures for disposal of testing devices. It should also be noted that incineration is getting more attractive to city authorities [32]. The provision of Decision 491/QĐ-TTg dated 7 May 2018 that aims to significantly reduce MSW landfilling by applying incineration as well as other waste treatment solutions encouraged the development of more W2E facilities [33]. In terms of off-takers, EVN remains as the sole buyer who has the responsibility to acquire 100% of electricity generated from W2E projects. In order to support the existing efforts made by the government of Vietnam to adopt a more sustainable MSW option, GGGI supported a US$ 60 million W2E project in Vietnam with a treatment capacity of 500-600 TPD of waste which recently reached financial closure. The technology is a viable option for MSW management in Vietnam thanks to enabling policy mechanisms in the country such as the available FIT for W2E projects and the high gate fees. This project is considered to be technically and financially viable and has attracted investment from the private sector and Development Finance Institutions. Building on this success, additional supports to local developers and financiers are needed to catalyze investments in W2E.

| Component | Vietnam Description |
| --- | --- |
| Designed capacity | 500 TPD (input), 10 MWe (output) |
| Technology | MSW to RDF technology and Circulating Fluidized Boiler (CFB) |
| Expected Investment size | US$ 60 million |
| Indicative Capital structure | 30% equity at minimum |
| Applicable Gate fee | c. US$ 20/ton (based on 500 TPD input) |
| Applicable FIT | US$ 10.05 cent/kWh |
| Expected operation days | c. 350 days per year |
| Expected Project IRR | c. 13% |

## 2.2 Potential benefits, environmental and social impacts

### 2.2.1 GHG reduction

Compared to other traditional methods for managing MSW, the adoption of MBT, W2E and composting are considered suitable alternatives for the sustainable management of MSW. These technologies do not only reduce the toxicity of MSW, but they also offer a solution for mitigating GHGs emissions from landfills. For example, the study “Mass balance to assess the efficiency of a mechanical–biological treatment” [19] investigated GHG emissions from an MBT plant and concluded that, adopting MBT has the potential to cut down GHG emissions (primarily from landfill gas avoidance) by 287 kg of CO2-eq and 764 kg CO2-eq per ton of waste as compared to open dumping and traditional landfilling respectively.

Also, compost applied to soil has long-term potential to mitigate GHG. It is estimated that about up to 79 kg CO2-e is saved per ton of composted waste applied to land [34]. In addition, compared to open dumping RDF, composting or incineration helps to reduce odor and the accumulation of flies which can be a media for many diseases. Empirical evidence suggests that communities located more than 250 meters away from composting facilities are unlikely to be exposed to harmful levels of bio-aerosols [18].

BOX 4: Climate Rationale for LSWTP according to NDC

There is an existence of evidence-based climate benefits in developing LSWTP, as outlined below: - Cambodia: Considering business-as-usual (BAU) emissions without forestry and other land use (FOLU), the waste sector would contribute 3.3MtCO2e (4.1%) emissions by 2030. However, the development of modern MSW treatment facilities as outlined in the Nationally Determined Contribution (NDC) scenario would reduce 0.6MtCO2e by 2030, that is about an 18% decrease in countries GHG emissions. The establishment of the MBT project at the 1,100 TPD scale is included in the NDC. - Lao PDR: Under the NDC scenario, Lao PDR plans to implement a sustainable municipal SWM project of 500 TPD. The GHG mitigation target for this project is estimated at 40 ktCO2e on average per year between 2020 and 2030. - Vietnam: The BAU emissions for the waste sector is projected at 46.3 MtCO2e by 2030. With domestic resources mobilized for modern waste treatment facilities by 2030, the waste sector is expected to reduce 9.1 million tons of CO2eq, about 19.7% of the BAU scenario. Also, with international support received through bilateral, multilateral cooperation as well as through the implementation of new mechanisms under the Paris Agreement, there is potential for a reduction of 33.2 million tons of CO2eq, approximately 71.7% compared to the BAU scenario.

### 2.2.2 Job creation

MBT and RDF facilities have the potential to provide positive socio-economic benefits in the form of employment opportunities, depending on the size of the facility. Both unskilled and professional opportunities would be created. In Cambodia and Lao PDR for instance, these have been estimated at up to 50 new positions per facility. According to the study “Mechanical Biological Treatment of Municipal Solid Waste” [18] about eight direct jobs would be created for an MBT plant of 50,000 tons per annum (TPA) capacity, 40 for 265,000TPA plant and 85 for a 417,000TPA plant, without mentioning other positions that would be created along the waste management chain from collection, storage, and transportation. Moreover, according to IRENA [39], jobs in renewables alone could triple to 30 million by 2030 and every million US$ invested in renewables would create three times more jobs than in fossil fuels. The development of more RE facilities could help Southeast Asia meet about 41% of all its energy needs by 2030 and create an additional 6.7 million green jobs by 2050. About 7,000 direct jobs were created in the USA in 2018 via the deployment of W2E technologies [40]. Typical employment for an incineration plant of 50,000TPA capacity would be two-six direct positions per shift [41]. Many other jobs would be created during the stages of structuring, designing and construction of W2E plants.

### 2.2.3 Security of energy supply

Ensuring a reliable supply of energy is an important priority in developing W2E markets and this can be guaranteed by sustainable energy infrastructures and national polices. In the case of W2E projects, the power system also needs to be large enough to meet the energy demand of the potential customers. Vietnam has made great improvements in its energy infrastructure with just about 9% of energy lost along the transmission and distribution line [34]. This assures that energy generated would reach different end-user sectors. Energy supply disruptions could also be triggered by a lack of skilled staff. The development of technical capacity of local engineers for maintenance of the power system and infrastructure would help to improve the reliability of the power system.

## 2.3 Potential for development of LSWTP in Cambodia, Lao PDR and Vietnam

### 2.3.1 Cambodia

There is a promising primary market for RDF fuel in Cambodia. Based on GGGI’s recent findings, the cement sector has potential uptake partners for RDF [36]. In Cambodia, a cluster of four large cement factories located in Kampot Province, 100 - 150 km from Phnom Penh currently depend on coal and can consider RDF as an alternative source of energy. The potential market for RDF is estimated at about 420,000 tons annually for all cement factories, assuming that 20% of the coal is replaced with RDF. A broader displacement of coal in the cement factories would result in a wider market potential. The Cambodia Cement Manufacturing Association have also demonstrated their support for the RDF project.

### 2.3.2 Lao PDR

Two large cement factories located in Vientiane Province, about 100-150 km from Vientiane Capital in Lao PDR, are able to accept RDF as an alternative source of energy. Beside cement plants in Vientiane province, the cement factories in proximity to the RDF plant in Udon Thani (Thailand) can be considered as potential buyers. Referring to the GGGI pre-feasibility study, under the assumption that 20% of the coals used in these two cement factories are replaced with RDF, the annual theoretical demand for RDF in Lao PDR is estimated as 162,000 tons per year. In addition, there is also a ready market for organic fertilizer that would be produced from the MBT plant. According to the ministry of Agriculture, Lao PDR imported about 25,000 tons of organic fertilizer in 2019, and to meet the current production capacity of rice and crops, 768,000 ton per year of organic fertilizer is required. Therefore, composting from the MBT plant has a ready local market in Lao PDR. Under the scenario of processing 200 TPD of organic waste, annual carbon reduction is estimated as 38,000 tons per year. If registered, there will be additional revenue from selling carbon credits at the price of 20-25 US$ per ton, which would account for 760,000US$ - 1,147,740 US$ annually.

### 2.3.3 Vietnam

The fast urbanization and industrialization rate, coupled with the economic revival in Vietnam has induced an increase in energy consumptions. In order to reach the country´s aspirational target of 21% renewables in the national primary energy mix by 2030, Vietnam will have to substantially scale-up its deployment of RE. Consequently, there is a need to balance and diversify national electricity supply to meet the current and projected national energy demand. W2E technology can play a significant role in diversifying the national energy mix with the supply of base load generation and therefore further improve the uptake of variable RE in Vietnam. The market potential for MSWTE in Vietnam was estimated at 630 MW in 2020. With the growing amount of MSW, this potential is projected to reach 815 MW to 1155 MW by 2025 and 2030 respectively. Moreover, FITs in Vietnam are very high for incineration to energy (US$ 10.05 cent/kWh), with no deadline, compared to solar (US$ 9.35 cents/kWh) and wind (US$ 8.5 – 9.8 cents/kWh) which have specific deadlines [38].

The government of Vietnam has also put in place enabling frameworks to attract investment in W2E projects. Landfill gate fees vary from province to province (US$ 12–22 per ton) [36], which is high compared to Cambodia and Lao PDR. For W2E projects to be bankable, gate fees in average should be in the tune of US$ 20 cents per ton. The Ministry of Construction (MoC) regulates a ceiling price for the gate fee with provisions for incineration, though investors can work with provinces and the relevant provincial government can ask MoC for approval in increasing the gate fee. The pricing difference for gate fees in each province still makes it difficult for some regions of Vietnam to develop bankable W2E projects. An increase to a uniform gate fee of US$20 per ton would pave the way for investments in areas where projects are still not bankable achieving on the long run a better base load distribution for Vietnam’s electricity grid. Other incentives also include, tax holidays, exemption of import duties for equipment, land rent exemptions, and low interest loans.

BOX 5: Specific Elements for W2E Consideration in Vietnam

GGGI is playing an enabling role in terms of risk mitigation to lure investment in W2E projects: - GGGI as financial advisor: - Compiles the documentation for the project preparation. - Recommends projects that are bankable based on the return on investment and internal rate of return, and also informs the relevant parties on most suitable technology. - Supports the development of financial partnerships that translate into secured climate finance. For example, there is already a W2E project in place with equity of 37.5%, while the debt capital of 62.5% is shared between two partners from Europe and a domestic bank in Vietnam.

3. Enabling environment and risk management

In the Mekong region, LSWM projects represent an investment opportunity for domestic and international impact investors at a time when environmental and social challenges are becoming more significant due to the increasing generation of MSW. Also, in their Nationally Determined Contributions (NDCs), countries are communicating the actions which they will take to reduce their GHG emissions in order to reach the goals of the Paris Agreement. To meet targets set out in their NDCs and to align with the goals of the Paris Agreement, Mekong River countries will need to effectively tackle the growing problem of municipal solid waste. LSWM offers a way forward with applications such as W2E in Vietnam and MBT with RDF in Cambodia and Lao PDR.   The challenges and barriers, as well as the opportunities, for the development of LSWM projects in the Mekong region are explored in this section.

## 3.1 Policy and regulatory barriers and opportunities

The development of LSWM systems require favorable policies that create an environment which can attract investments. Clear policies and a clear waste management regulatory framework would be vital tools to predict the successful deployment of MBT and W2E technologies and mitigating risks that may arise with the investments.

- Cambodia:

The Cambodia Climate Change Strategic Plan for 2014 – 2023 [42] aims at mitigating GHG emissions by promoting RE and energy efficiency, as well as adopting integrated measures for the sustainable management of waste and wastewater. The 2015 Climate Change Action Plan [43] of the Ministry of Land Management, Urban Planning and Construction highlights the need to consider environmental, climate change, & waste management issues in municipal and other land use planning processes and in their development guidelines. It is worth noting that the Green City Strategic Planning Methodology developed by the government with support from GGGI is currently being applied in seven ‘major’ cities and includes considerations of pollution and waste management issues. There is also a recently developed draft national Environment & Natural Resources Code with improved considerations of pollution control and waste management issues including incorporation of the reduce, reuse and recycle (3R), environmental and sustainable cities planning concepts [43]. In addition, Cambodia’s NDC identifies RDF projects as potential contributors to achieving its climate targets. If fully implemented, GHG reductions from the production of RDF and AD can reach up to 200 ktCO2e/year [44]

- Lao PDR

In Lao PDR, there are no policies or regulations for the separation of MSW, or in support of waste-to-resource approaches, or the principles of 3R. This is a barrier to potential increases in the share of recyclable materials entering the recyclables value chain. At the national level, the two main bodies responsible for solid waste management (SWM) are the Ministry of Public Works and Transport (MPWT) for infrastructure and the Ministry of Natural Resources and Environment (MoNRE) for regulation. Similar to other countries in the Mekong region, the main responsibilities for SWM are delegated to provincial authorities and district offices. In Vientiane, Vientiane City Office for Management and Service (VCOMS) are responsible for waste management. GGGI has supported VCOMS to develop a Sustainable SWM Strategy and Action Plan 2021-2030 for Vientiane which is awaiting endorsement by the Mayor of Vientiane Capital. This strategy calls for increasing waste treatment capacity through mobilizing green investment for a large-scale waste treatment facility that is environmentally and financially viable.

GGGI is supporting the Ministry of Industry and Commerce in developing a green industry policy which will entail recommendations for using RDF at the cement factories in an effort to create an enabling environment for the MBT plant.

- Vietnam

The Government of Vietnam has in place a policy for addressing issues in the waste sector and this policy has been translated into various laws, mechanisms and guidelines. To date, despite the guidelines and mechanisms set by the Government, the level of operationalization by the market and all players is still slow. It is expected that a stakeholders’ consultation, which will identify the bottlenecks impeding the operationalization of the laws, guidelines and mechanisms, will take place to provide solid ground for enforcement. For instance, the guideline on household waste separation at source to reduce the amount of waste to landfill has only been piloted in some cities but has not been applied largely in Vietnam.  A consultation that will aim to reflect current and future challenges and opportunities after this pilot would widely benefit all players. In addition, although the legal framework of MSW in Vietnam has been enhanced, the laws have not yet given clear lines of responsibilities to any of the concerned authorities. This has led to a situation where MSW is under control by multiple agencies with overlapping authority. It is unclear who is responsible and accountable among the various authorities regarding MSW.

3.2 Feedstock supply chain and risk management

To ensure the economic feasibility of MSW management projects, it is critical to understand the feedstock supply system. Detailed information about waste production, characteristics, and transportation already exists for the selected countries. A sustainable feedstock supply mechanism has been put in place to provide information on feedstock generation, storage, transportation, and delivery. In Phnom Penh, to address growing difficulties in waste collection, the city was divided into three zones serviced by three separate private waste contractors, with an online payment system currently being established.

In the Vientiane Capital city, VCOMS together with nine other private companies are responsible for handling the solid waste required by the treatment plants. Despite of city government efforts and ambition to increase collection rate up to 100%, the household waste collection rate remains at 31% in 2020. GGGI is currently implanting decentralized waste collection services in urban districts of the city in order to increase waste collection rates in unserved areas and to ensure source separation which will complement the MBT plant operation.

Waste collection in Vietnam is also managed by small private companies that can sign a contract with the waste treatment company to secure a given quantity of feedstock. In addition, the introduction of an incentive framework as a dominant tool to promote the supply of feedstock can play a significant role in feedstock management. These systems for waste collection have already paved the way for LSWTP as they can be used to mitigate waste supply chain associated risks.

## 3.3 Business model development challenges and opportunities

Cambodia, Lao PDR and Vietnam have different business environments so the choice of business models related to MSW must also consider the specifics of each country.

### 3.3.1 Private sector investment

The feasibility studies which have been conducted by GGGI demonstrate a potential for purely commercial operations with private sector investments on MBT for Cambodia and Lao PDR or W2E for Vietnam. While these opportunities exist, they are limited by lenders risk perception on technology as well as off-taker´s credit risks. In the three Mekong River countries, waste is not segregated at the source, which adds an operational constraint to a purely private sector driven business model. For MBT plants, long-term purchase agreement on off-take of RDF would be a critical tool to attract private sector investment. Tipping fees have been introduced as an important commercial feature to improve the commercial viability of purely private sector driven business models. Pilot projects being supported currently by GGGI will pave the way for further uptake of private sector investments and lessons learned will provide an important ground for moving future transactions to financial close.

### 3.3.2 Common initiative groups

Common initiative groups can gather solid waste and set up a waste treatment facility owned by the initiative. Since members may not have the same financial capacity, share schemes are adopted to facilitate the investment. In Lao PDR where composting for management of MSW is feasible, agricultural cooperatives have played an important role in providing technical assistance and supports for service stages as well as capital for production in recent years [45]. Agricultural cooperatives in Vietnam represent a business model that enjoys a lot of supportive policies from the central government [46]. For example, the Cooperative Law 2012 [47] makes provision of formal training of cooperative management boards and their members by the central government to enhance their technical capacity in managing and operating cooperatives. In addition, farmers in cooperatives would get advantages for relevant policies regarding trade promotion, technologies application, and capital access for the interest of its members [45]. The same approach can also be taken of the off-taker side, where different groups of cement factories can come together and mobilize financial and technical resources required to develop an RDF facility. The Cambodia Cement Manufacturing Association for instance could play a significant role in identifying consortium partners for the development of an independent RDF facility.

### 3.3.3 Public Private Partnerships

Public-private partnerships (PPPs) are mechanisms for government to procure and implement public infrastructure and/or services using the resources and expertise of the private sector. PPPs are typically long-term contracts lasting for about 25 years for waste treatment projects, in which the private sector mobilizes finance and helps to deploy new technology for governments that require more efficient services. The use of PPPs has grown in the past decade, and it is proving to be a very successful finance model now used in more than 134 developing countries and contributing to about 15–20% of total infrastructure investment [48]. In Vietnam, PPPs would be considered as an important means for improving economic sustainability and governance of W2E projects. With attractive tipping fees in place and a framework for PPAs on W2E, the Government of Vietnam has already put in place a strong foundation for auctioning W2E projects as a way of reducing the residual risk perception on licensing requirements. Such a PPP approach that expedites the administrative requirements could result in a quick ramp-up of installed capacity from W2E in the country. In Cambodia, the Government has set up a state-owned-enterprise (SOE) to manage waste in Phnom Penh. A sponsor at government level would grant a concession to a private sector company guaranteeing the supply of waste to the MBT. Land would be granted at the landfill site for the MBT as part of the PPP agreement. Then offtake contracts would be signed with the cement factories. Such PPP arrangements would be vital tools to attract private capital investment in LSWM facilities.

## 3.4 Experience of local stakeholders

A challenge facing the implementation of LSWM facilities in the Mekong region is the lack of experience of local stakeholders in MSW projects, in particular developers and financiers. Such stakeholders are pivotal to the scaling-up of LSWM facilities, both in the country and regional contexts. LSWM projects are capital intensive, and their returns are long term, which requires that financiers be knowledgeable with the pricing, terms, and conditions for such projects. In addition, the traditional method of treating waste in the region has been landfilling, and in the context of Vietnam incineration of waste [49]. The methods do not provide attractive financial returns and financiers have learnt over time to first be shy against any waste management related project. As the Government of Vietnam is engaged to actively create an enabling framework that would incentivize investments in LSWM facilities, a growing opportunity for developers and financiers to invest in such projects is rising.

However, gaps in terms of experience of the local stakeholders are holding back the uptake of sustainable waste management practices. These gaps mainly are derived from both (i) local project developers, and (ii) Local financiers (commercial banks).  As landfill treatment currently remains the dominated waste treatment method in Mekong countries, in the market there is a lack of local project developers with strong experience in developing and operating LSWM projects with advanced technology such as W2E power plants. Therefore, this requires strong support, technology transfer to build up the capacity of local developers to ensure the sustainable operation of the LSWM projects. Likewise, local commercial banks are also lacking in experience for assessing the technology and the associated financial feasibility of the LSWM projects, given the lack of demonstration projects for reference in the region. As a result, this situation hinders the confidence of local financiers in financing LSWM projects and raises an urgent need for blended finance.

| BOX 2: Risk Mitigation Measures for MBT in Cambodia |  |  |
| --- | --- | --- |
| Risk type | Rating | Risk mitigation |
| Uncertain waste supply chain in Phnom Penh (CINTRI’s contract revoked and need for a new landfill site) | H | This is a key risk which may lead to delays. It can be mitigated by careful engagement and support to the government. |
| No buyer for the RDF |  | Engagement with the sector indicates a strong willingness to accept RDF, so long as the RDF meets the required quality |
| Competition with other forms of W2E in Phnom Penh such as incineration | M | Incineration is the technology most often mentioned by the government. However, it is currently too expensive. Even so, there is likely space for two types of technologies given the amount of waste and size of the city. It would be difficult and risky for a single plant to accept one million tons per year. |
| The RDF process will not be commercially viable | M | A detailed pre-feasibility analysis indicates a viable business model, which will need to be confirmed with the full FS Incentives such as soft loans, tax rebates or gate fees can improve the viability of the process. Transportation is the major OPEX component, alternative operating models must be assessed. |
| Land availability | M | Ideally, the plant would be located at Dangkor landfill, and the PFS assumes that land would be allocated by the government. This will need to be discussed in detail with the government, especially as a new landfill is planned. |
| The required RDF quality will not be achieved | L | Examples from Thailand with similar waste streams indicate that the process is technically feasible. A detailed waste composition analysis would be carried out during the FS, including of the waste already landfilled. Engineering a design to ensure the capability of a suite of technologies to convert this waste into quality RDF will be investigated. |
| Lack of investors | M | Early engagement with investors and developers will be paramount for a successful outcome. |
| The informal sector will lose their income because of the plant | L | The process mostly targets residual waste not recyclables which are targeted by the informal sector. As part of the process design, every effort will be made to incorporate manual processing and create jobs. |

| BOX 3: Risk Mitigation Measures for MBT in Lao PDR |  |  |
| --- | --- | --- |
| Risk type | Rating | Risk mitigation |
| Uncertain waste supply chain in Vientiane | L | There are multiple private waste collectors in Vientiane as well as a public waste collector and some of them may be tempted to set up their own facility to process waste, reducing viability of the project. This can be mitigated by careful engagement and support to the government. |
| No buyer for the RDF and Compost | H | Engagement with the sector indicates a willingness to accept RDF, of at least one plant, so long as the RDF meets the required quality. Securing interest of a second one is highly important for the viability of the project. Similarly, securing large contracts for the compost, not too far from Vientiane is critical. Intensive engagement with relevant stakeholders through Ministry of Industry and Commerce (MOICA) will be critical. |
| Competition with other forms of W2E such as incineration | H | Incineration is the technology most often mentioned for large scale processing of mixed MSW and the Government of Vientiane Capital has already signed a concession for such technology with a Thai-Laos consortium company. However, the power purchase agreement has been signed with EDL for this project and the technology is currently too expensive. The existing concession will be a bottleneck in making progress for the MBT project. |
| The MBT process will not be commercially viable | M | A detailed pre-feasibility analysis indicates a viable business model, which will need to be confirmed with the full FS Incentives such as soft loans, carbon credits or gate fees can improve the viability of the process. Transportation/fuel costs is the major OPEX component, alternative operating models should be assessed. |
| Land availability | L | The Vientiane landfill site is very large and can accommodate the plant, pending withdrawal of the concession with the Thai company. Options closer to the city and the cement plants could also be investigated, although it would require transporting large amounts of waste mined from the landfill to the new site. |
| The required RDF and compost quality will not be achieved | L | Examples from Thailand with similar waste streams indicate that the process is technically feasible. A detailed chemical composition analysis of waste should be carried out during the FS, including the waste already landfilled. Engineering a design to ensure the capability of a suite of technologies to convert this waste into quality RDF and compost will be investigated, in consultation with potential buyers. |
| Lack of investors | M | Early engagement with investors and developers will be paramount for a successful outcome. |
| The informal sector will lose their income because of the plant | L | The process mostly targets residual waste not recyclables which is targeted by the informal sector. As part of the process design, every effort will be made to incorporate manual processing and create jobs. |
| Remark: GGGI is working to get grants from international development partners such as KOICA and GCF to financially de-risk MBT investments in Lao PDR. A concept note has been drafted for a GCF grant to lower investment risk. |  |  |

4.	Financing options

The management of MSW is an essential public service. As populations increase, so does the amount of waste generated in a country. In lower-middle income countries such as, Cambodia, Lao PDR and Vietnam, the public is often apathetic about waste service, and they are not inclined to make regular payments for waste collection services. Greater expenditure is needed to encourage a paradigm shift in public attitudes. The more perceived social benefits that are evident to the public regarding sustainable waste management, the more likely attitudes will change. In this section three possible financing options will be discussed, and the feasibility of each option will be presented.

## 4.1 Private sector and commercial finance

Whether W2E or MBT plants, sustainable waste management projects with a focus on energy recovery can generate positive financial returns (up to 13.5% at project level and up to 19% on equity) making such investments attractive to the private sector, under the condition that the project identifies the off takers of the by-products such as RDF and organic compost.

In Vietnam, the lending interest rate applied by commercial banks ranges from 7-11%. With over 30 commercial banks operating in the country, commercial finance is a vital source for project developers to mobilize finance for their projects. In obtaining these commercial loans, additional collaterals may typically be required to secure funding from commercial banks. With funding sources leveraged from international DFIs through on-lending programs, Vietnam’s local commercial banks have recently made concrete steps in financing project developers in green infrastructure such as renewable energy, waste management, etc. Accordingly, projects that have environmental benefits can also be eligible to access these lending facilities with more preferential terms.

Across the border in Lao PDR, the interest rate averaged 6.8% from 1992-2001. However, there has been major fluctuations in the rate, reaching an all-time high of 35% in December 1994 and a record low of 3% in March 2020. Domestic private finance has been constrained by high interest rates on commercial borrowing and by lack of access to financing. In recent years there has been an increase in the availability of credit to the private sector which has been a key factor in the increase in domestic private investment. As well as increasing the availability of credit, the Bank of the Lao PDR has been working with commercial banks to reduce interest rates, to levels like those seen in other countries in the region. For the Government approved projects, the interest rate for project financing marks at 4%.

Cambodia's Ministry of Economy and Finance (MEF) set the market interest rates for 2020 loans based on an average of the interest rates set by Cambodia's eight commercial banks: 8.92% for KHR-denominated loans and 8.45% for US$-denominated loans.

The GGGI supported project for an MBT facility in Vientiane, Lao PDR shows a debt/equity split of 70%/30%. The capital structure for the MBT-RDF facility investment in Phnom Penh, Cambodia also shows a debt/equity split of 70%/30%. In Vietnam, on MSWTE power plant the private sector appetite is more acute, GGGI supported the project developer on financial structuring for the W2E project in Bac Ninh province, of which at least 30% equity commitment comes from the sponsors. Such commercial finance resources can be leveraged through available climate finance under the blended finance mechanisms to de-risk the project or more broadly enhance its bankability.

Solid waste management is an area in which private investments could have a transformational impact, however the sector is often considered too risky by private investors. Blended finance has emerged as a tool for reducing risks and promoting private investments in LSWM facilities. Blended finance combines concessional financing, loans that are extended on more generous terms than market loans, and commercial funding [50]. It is an approach that helps to get projects off the ground. In the context of LSWM facilities, blended finance can help reduce associated risk borne by private stakeholders, encourage developers and financiers to invest in a sector in which they have limited experience. Accordingly, blended finance for private sector projects is fast becoming one of the most transformative tools that development finance institutions can use, in cooperation with development partners, to mitigate risks and to help mobilize private investment in LSWM facilities [51].

GGGI’s contribution in terms of transaction advisory and facilitation play a vital role in utilizing available public and climate finance to leverage private sector investment through the blended finance mechanism. To reach an equivalent cost of capital, blending commercial finance from private sector with concessional sources that have better terms and pricing would widely raise overall projects bankability, helping to catalyze further investments both in W2E and MBT in the Mekong River countries.

## 4.2 Public Private Partnerships with Municipalities

It is worth noting that most developing countries have limited technical and financial capacity to develop and operate LSWM facilities. Given the growing trend of MSW generation, the need to develop waste treatment plants is a priority. Well-structured and commissioned projects can mobilize financial and technical resources from the private sector seeking new and bankable investment opportunities. The most common PPP models practiced around the world include build–own–operate–transfer (BOOT) model; build–own–operate (BOO) model; and build–own–transfer (BOT) model [52]. Cambodia, Lao PDR and Vietnam have implemented several infrastructure projects via the PPP finance model. In Cambodia, projects via PPP have been implemented since 1993 mostly in the energy sector using BOT and BOO models [53]. The Government of Lao PDR however has a long-term vision to establish PPPs as a regular procurement mechanism to be used by all Government Agencies [54]. Vietnam has implemented several power projects under the ADB Technical Assistance with PPP content, and ADB private sector PPP portfolio. In 2018, the ADB signed a $100 million loan facility agreement with China Everbright International Limited (CEIL) to develop the first W2E PPP project in Vietnam [55]. The pre-feasibility studies conducted by GGGI for Cambodia and Lao PDR are additional guides in designing a suitable contractual set-up for a PPP and facilitates investment in LSWM projects in the selected countries. A schematic diagram of a typical PPP structure is presented in Figure 1 below.

Figure 1. Schematic layout of PPP structure [56]

## 4.3 Climate Finance

By harnessing the potential of waste and using it at LSWM facilities we can reduce emissions from landfills and curb the need for additional landfills. Landfills are big emitters of GHG, especially of methane, which is 28 times more potent to climate change than carbon dioxide. LSWM projects not only help mitigate climate change, but they also provide environmental benefits through conversion of waste to useful commodities such as energy or natural compost. The use of organic compost instead of chemical fertilizers also constitutes a more sustainable agricultural solution which improves the livelihood production of communities in the Mekong River countries.

In order however to broadly address waste management issues countries such as Cambodia, Lao PDR and Vietnam need to move towards a circular economy approach in the treatment of waste. Climate finance can support mitigation actions that result in environmental and socio-economic benefits. There are different types of financial instruments that could be sought through climate finance to improve LSWM practices and deliver climate mitigation, either at country level or regionally. Those include equity, loans and grants.

- Equity investments can act as a catalyst because of their ability to support early and growth-stage businesses that would otherwise not be able to take on debt. Direct equity could also allow investees to scale operations more efficiently to achieve a greater sustainable development impact. Equity enables the de-risking of partner investments and can be a good source of incremental finance when commercial debt provision is still shallow for MBTs like in the case of Cambodia and Lao PDR. Climate finance in the form of equity would also play a catalytic role in mobilizing private sector capital in LSWM projects.

- Concessional loans from climate finance institutions could be blended with local commercial loans to share the risk, catalyze the private investment and achieve better cost of capital for project financing. Highly concessional loans could help scale up LSWM projects in the three Mekong River countries, though there is a consensus that far too much climate finance coming from governments and development finance institutions is in the form of loans. According to the OECD report “Climate Finance Provided and Mobilized by Developed Countries”, by 2018 loans represented 74% (US$46.3 billion) of public climate finance, up from US$19.8 billion in 2013. Grants represented just 20% (US$12.3 billion) of public climate finance.

- Grants can help transaction advisory and capacity building around LSWM projects. A grant awarded to the Mekong River countries for LSWM would have a strong impact on mitigating climate change, while also providing environmental and socio-economic co-benefits. For LSWM projects to be successful in Cambodia, Lao PDR and Vietnam, support will be needed from climate finance flows either as public grants without repayment contingencies or through technical assistance improving advisory and de-risking efforts. In Vietnam, GGGI provided financial advisory on a pro-bono basis to support a private sector developer to successfully obtain funding for a W2E project. The financial advisory from an international organization helped local developers design an appropriate financial structure to reduce the risk and access to sources of finance for LSWM in the region.

- Voluntary market or bilateral markets based on article 6 of Paris Agreement also provide an opportunity for financing LSWM projects. Some pre-requisites however would be 	carbon credit pricing as well as development of the bilateral framework through which these impacts can be generated.

- Finally, another promising financing option for the LSWM projects for the three Mekong countries is the programmatic blending of climate finance with municipal co-financing. Individual projects can often have a high transaction cost and can be complex in nature. Aggregation of projects through a programmatic approach that builds on local ownership will provide an opportunity for action at scale while being more sustainable.

# 5.	Recommendations for scaling-up at the regional level

This section presents short- to long term recommendations designed to strengthen the adoption of LSWM strategies in the Mekong sub-region and increase the role of development partners in achieving sustainable waste management following the implementation of relevant actions.

Recommendation 1: Policy and regulatory improvement for LSWTP

Actions:

- Cambodia

- Government to explore setting stable and clear policies for the development of LSWM technologies. For example, stabilized gate fees are required to lure investments and also to encourage the participation of local stakeholders in developing LSWTPs.

- GGGI recommends a gate fee of US$ 5 per ton (current rate at Dangkor landfill is 0.75 US$ per ton) for the proposed RDF facility. The introduction of a US$ 5 gate fee would complement income from sales of RDF and achieve viability for business models.

- Lao PDR

- Government to explore setting a stable and viable gate fee as well as a carbon market framework as first building block to attract investments in LSWM.

- Municipalities to explore the opportunity for sorting facilities for separation of waste as well as directives to improve separation at household level.

- Ministry of Industry and Commerce can introduce a policy and tax benefit to the cement factories that use RDF as alternative energy source to coal.

- Vietnam

- Municipalities to explore the opportunity for sorting facilities for separation of waste at household level and waste collection companies to incorporate segregation as part of their operations.

- Government to explore an auction for scaling up W2E in order to increase its share in national energy mix in Vietnam.

- An increase to a uniform gate fee of US$20 per ton would pave the way for investments in areas where projects are still not bankable achieving on the long run a better base load distribution for Vietnam’s electricity grid.

Recommendation 2: Leverage blended finance mechanism to unlock access to domestic finance

The risk perception of domestic banks is a barrier that has impeded investments in LSWM projects in the targeted countries. The following actions can help to scale up the flow of local finance for market development.

Actions:

- Provide project funding through local commercial banks in order to improve their knowledge and understanding of available LSWM technologies and related risks.

- More targeted advisory services in designing bankable integrated MSW projects that are replicable in the region and can also help to unlock access to long-term and affordable local finance.

- Bundle a fleet of LSWM projects under a financing facility or fund to enhance best practice and scalability of the sector.

- Bridge the funding gap by designing specific funding schemes like crowd funding to facilitate access to capital for LSWM projects. These financial instruments are enablers for the deployment of these technologies in times when regular finance options are costly or unavailable.

- Involve off-takers in the financing of MBT plants, for example, the cluster of cement factories in Cambodia and Lao PDR can provide a long-term agreement for the purchase of RDF which can support sponsors to mobilize finance to develop LSWTPs.

Recommendation 3: Capacity building for social and behavioral change

Actions:

- Building local capacity on waste disposal is pertinent to achieving sustainable waste management. Waste is managed in most small cities and villages by individuals who need to be trained on waste separation. Informing them on benefits of sorting waste would facilitate sustainable waste treatment.

- Develop entrepreneurship support schemes. Waste in small cities is managed by individuals or small companies that do not have enough finance to adopt a sustainable waste management technology. Developing and maintaining the required skills which these small companies need can help ensure sustainable solutions for MSW.

# References

[1]	World Bank, “Solid Waste Management.” https://www.worldbank.org/en/topic/urbandevelopment/brief/solid-waste-management (accessed Jul. 09, 2021).

[2]	World Bank, “Trends in Solid Waste Management.” https://datatopics.worldbank.org/what-a-waste/trends_in_solid_waste_management.html (accessed Jul. 09, 2021).

[3]	D. Hoornweg and P. Bhada-Tata, “What a waste: a global review of solid waste management,” World Bank, 2012, Accessed: Jul. 10, 2021. [Online]. Available: https://openknowledge.worldbank.org/handle/10986/17388.

[4]	S. Diener, C. Lalander, C. Zurbruegg, and B. Vinnerås, “Opportunities and constraints for medium-scale organic waste treatment with fly larvae composting,” Proc. Sardinia, vol. 5, 2015, Accessed: Jul. 10, 2021. [Online]. Available: https://www.eawag.ch/fileadmin/Domain1/Abteilungen/sandec/publikationen/SWM/BSF/Opportunities_constraints_medium_scale.pdf

[5]	M. Castaldi et al., “Progress and Prospects in the Field of Biomass and Waste to Energy and Added-Value Materials,” Waste Biomass Valorization 2017 86, vol. 8, no. 6, pp. 1875–1884, Aug. 2017, doi: 10.1007/S12649-017-0049-0.

[6]	First biannual update report of the Kingdom of Cambodia to the UNFCCC, May 2020.

[7]	EuroCham Cambodia, “Partnership Ready Cambodia: Waste management,” Nov. 2019. Accessed: Jul. 07, 2021. [Online]. Available: https://www.giz.de/en/downloads/GBN_Sector Brief_Kambodscha_Waste_E_WEB.pdf.

[8]	J. Fakhry, “Large-scale Management of Unsegregated Municipal Solid Waste in Phnom Penh: A Cost Comparison of Three Options,” Glob. Green Growth Inst., 2020.

[9]	B. Seng, H. Kaneko, K. Hirayama, and K. Katayama-Hirayama, “Municipal solid waste management in Phnom Penh, capital city of Cambodia,” Waste Manag. Res., vol. 29, no. 5, pp. 491–500, May 2011, doi: 10.1177/0734242X10380994.

[10]	Global Green Growth Institute, “Solid Waste Management in Vientiane, Lao P.D.R: Situation assessment and opportunities for waste-to-resource ,” 2018.

[11]	B. Khanal and B. Souksavath, “Environmental Management Measures and Current Practices in Solid Waste Management: A Case Study from Vientiane, Lao People’s Democratic Republic, Journal,” 2005, Accessed: Jul. 11, 2021. [Online]. Available: https://www.think-asia.org/handle/11540/1733.

[12]	Ministry of Public Works and Transport, and, and Ministry of Natural Resources and Environment, “3Rs in the Context of Rio+20 Outcomes – The Future We Want,” 2013. Accessed: Jul. 10, 2021. [Online]. Available: https://www.uncrd.or.jp/content/documents/Country Analysis Paper_Lao PDR_rev.pdf.

[13]	“Solid Waste Management City Profile.” https://www.waste.ccacoalition.org/sites/default/files/files/vientiane-_city_profile_vientiane_capital_lao.pdf (accessed Jun. 01, 2021).

[14]	P. Schneider, L. H. Anh, J. Wagner, J. Reichenbach, and A. Hebner, “Solid waste management in Ho Chi Minh City, Vietnam: Moving towards a circular economy?,” Sustain., vol. 9, no. 2, pp. 1–20, 2017, doi: 10.3390/su9020286.

[15[	National Environmental Status Report In 2019: Management of Daily Solid Waste, 2020, Accessed: Jul. 07, 2021. [Online Available] http://vea.gov.vn/detail?$id=1026

[16]	Y. Mongtoeun, T. FUJIWARA, and S. Sethy, “A Study of Commercial Solid Waste Generation and Composition in Phnom Penh City, CAMBODIA,” J. Nat. Sci. Res., vol. 4, no. 13, pp. 49–54, 2014, [Online]. Available: http://iiste.org/Journals/index.php/JNSR/article/view/14049.

[17]	Institute for Global Environmental Strategies “A guide for improving municipal solid waste management and promoting urban organic waste utilization in Lao PDR,” 2012. Accessed: Jul.07, 2021. [Online]. Available: https://www.apn-gcr.org/wp-content/uploads/2020/09/ac705707586f1e240dbeb7bac506e4c3.pdf

[18]	Department of environment food and rural affairs, “Mechanical Biological Treatment of Municipal Solid Waste,” 2013. [Online]. Available: https://www.gov.uk/government/publications/mechanical-biological-treatment-of-municipal-solid-waste.

[19]	J. de A. Morais, G. Ducom, F. Achour, M. Rouez and R. Bayard, 2008, “Mass balance to assess the efficiency of a mechanical–biological treatment,” Elsevier, Accessed: Jul. 08, 2021. [Online]. Available: https://www.sciencedirect.com/science/article/pii/S0956053X07002838.

[20]    D. Moya, C. Aldas, G. Lopez, P. Kaparaju, 2017, “Municipal solid waste as a valuable renewable energy resource: a worldwide opportunity of energy recovery by using Waste-To-Energy Technologies” Elsevier, Accessed Jul.08, 2021. [Online]. Available: https://reader.elsevier.com/reader/sd/pii/S187661021734763X?token=36318A4467A9FDF1D9C7F971372B8607C139F17123D5BE5073EDB4E36DA2725E81E1F3DE11DFE99D24FD19DF5E6A65DD&originRegion=eu-west-1&originCreation=20211007134700

[21]     Mechanical Biological Treatment of Municipal Solid Waste. Department for Environment,

Food, and Rural Affairs (DEFRA), UK, 2007

[22]	M. A. Habib, M. M. Ahmed, M. Aziz, M. R. A. Beg, and M. E. Hoque, “Municipal solid waste management and waste-to-energy potential from rajshahi city corporation in bangladesh,” Appl. Sci., vol. 11, no. 9, 2021, doi: 10.3390/app11093744.

[23]	H. Rezaei, F. Y. Panah, C. J. Lim, and S. Sokhansanj, “Pelletization of refuse-derived fuel with varying compositions of plastic, paper, organic and wood,” Sustain., vol. 12, no. 11, pp. 1–11, 2020, doi: 10.3390/su12114645.

[24]	J. Zhu Mo-yuen Chow, N. Carolina, S. Member, and I. Senior Member, “A Review of E erging Techniques on Generation Expansion Planning,” IEEE Trans. Power Syst., vol. 12, no. 4, 1997.

[25]	EVN - Vietnam Electricity Corporation., “Adding garbage to power projects to the National Electricity Development Plan,” 2019. Accessed: Jul. 09, 2021. [Online]. Available: https://translate.google.com/?sl=auto&tl=en&text= Phương Trần (2019-02-25). %22Bổ sung 2 dự án điện rác vào Quy hoạch phát triển Điện lực Quốc gia%22. EVN - Tập đoàn điện lực Việt Nam.&op=translate.

[26]    C. Liu, T. Nishiyama, K. Kawamoto, and S. Sasaki, “CCET guideline series on intermediate municipal solid waste treatment technologies: Waste-to-Energy Incineration”, UNEP, IETC, IGES, 2020, Accessed: Jul. 07, 2021. [Online].  Available: https://www.iges.or.jp/en/publication_documents/pub/policysubmission/en/10877/WtEI_guideline_web_200615.pdf

[27]     Shomi Kim & Jerome Fakhry, “Challenges and opportunities with Mechanical biological treatment (MBT) facility: Case from Lao PDR”, 2021.

[28]	FAO, “Laos at a glance, 2021. Accessed: Jul. 09, 2021. [Online]. Available ” http://www.fao.org/laos/fao-in-laos/laos-at-a-glance/en/.

[29]	M. Farrell and D. L. Jones, “Critical evaluation of municipal solid waste composting and potential compost markets,” Bioresour. Technol., vol. 100, no. 19, pp. 4301–4310, Oct. 2009, doi: 10.1016/J.BIORTECH.2009.04.029.

[30]	F. Adani, F. Tambone, and  A. Gotti, 2004, “Biostabilization of municipal solid waste,” Elsevier, Accessed: Jul. 09, 2021. [Online]. Available: https://www.sciencedirect.com/science/article/pii/S0956053X04000662.

[31]    World Bank, “solid and industrial hazardous waste management assessment options and action area to implement the national strategy”, 2018. Accessed: Sep. 10, 2021. [Online]. Available: https://documents1.worldbank.org/curated/en/352371563196189492/pdf/Solid-and-industrial-hazardous-waste-management-assessment-options-and-actions-areas.pdf

[32]	M. G. Hoang et al., “MUNICIPAL WASTE GENERATION AND COMPOSITION IN A TOURIST CITY-HOI AN, VIETNAM.”

[33]	Government of Vietnam. Prime Minister Office, “Decision on approving the National Strategy of Integrated Solid Waste Management up to 2025, vision towards 2050,” 2018.

[34]	A. Boldrin, J. K. Andersen, J. Møller, T.H. Christensen, and E. Favoino, 2009, “Composting and compost utilization: accounting of greenhouse gases and global warming contributions,” journals.sagepub.com, vol. 27, no. 8, pp. 800–812, 2021, doi: 10.1177/0734242X09345275.

[35]	World Bank, “Electric power transmission and distribution losses (% of output) - Vietnam | Data.” Accessed: Jul. 09, 2021. [Online]. Available: https://data.worldbank.org/indicator/EG.ELC.LOSS.ZS?locations=VN.

[36]    Garbage Treatment Price for each Place, 2019. Accessed: Sep. 09, 2021. [Online]. Available:https://baotainguyenmoitruong.vn/gia-xu-ly-rac-moi-noi-mot-kieu-294763.html

[37]	GGGI, “Information Memorandum Mechanical and Biological Treatment Facility Investment in Phnom Penh, Cambodia,” no. August, 2020.

[38]     Norton Rose Fulbright, “Renewable Energy Snapshot: Vietnam”, 2019. Accessed: Jul. 10, 2021. [Online]. Available: https://www.nortonrosefulbright.com/en/knowledge/ publications/71562ac3/renewable-energy-snapshot-vietnam

[39]	IRENA, “IRENA Puts Energy Transformation at Heart of Sustainable Recovery Agenda,” /newsroom/pressreleases/2020/Jun/IRENA-Puts-Energy-Transformation-at-Heart-of-Sustainable-Recovery-Agenda, Accessed: Jun. 21, 2021. [Online]. Available: /newsroom/pressreleases/2020/Jun/IRENA-Puts-Energy-Transformation-at-Heart-of-Sustainable-Recovery-Agenda.

[40]	EESI, “Fact Sheet | Jobs in Renewable Energy, Energy Efficiency, and Resilience (2019) | White Papers | EESI.” Accessed: Jun. 21, 2021. [Online]. Available: https://www.eesi.org/papers/view/fact-sheet-jobs-in-renewable-energy-energy-efficiency-and-resilience-2019.

[41]	Department for Environmental Food & Rural Affairs, “Incineration of Municipal Solid Waste,” 2013. Accessed: Jul. 11, 2021. [Online]. Available: https://assets.publishing.service.gov.uk/government/uploads/system/uploads/attachment_data/file/221036/pb13889-incineration-municipal-waste.pdf.

[42]     Royal Government of Cambodia, “Cambodia Climate Change Strategic Plan 2014 – 2023”, 2013.  Accessed: Sep. 09, 2021. [Online]. Available:
https://www.cambodiaip.gov.kh/DocResources/ab9455cf-9eea-4adc-ae93-95d149c6d78c_007729c5-60a9-47f0-83ac-7f70420b9a34-en.pdf

[43]     Ministry of Environment, and Ministry of Land Management and Urban Planning, “Cambodia Country Presentation: Achieving Clean Water, Clean Land and Clean Air through 3R and Resource Efficiency- A 21st Century Vision for Asia-Pacific Communities”, 2018. Accessed: Sep. 09, 2021. [Online]. Available: https://www.uncrd.or.jp/content/documents/6581Country-G-3-Cambodia.pdf

[44]    The General Secretariat of the National Council for Sustainable Development/Ministry of

Environment, the Kingdom of Cambodia, “Cambodia’s Updated Nationally Determined Contributions”, 2020. Accessed: Sep. 09, 2021. [Online]. Available:

https://www4.unfccc.int/sites/ndcstaging/PublishedDocuments/Cambodia%20First/20201231_NDC_Update_Cambodia.pdf

[45]	N. C. Tiep et al., “Agricultural Cooperative Development in Thaibinh Province, Vietnam: Situation and Solutions,” Mod. Econ., vol. 11, no. 7, pp. 1376–1400, Jul. 2020, doi: 10.4236/ME.2020.117098.

[46]	N. Van Phuong, T. T. Thu Huong, and B. H. Quy, “Successful agricultural cooperative model in Vietnam. A case study: Van Duc Co-operative,” Waking Asian Pacific Co-op. Potential, pp. 125–136, Jan. 2020, doi: 10.1016/B978-0-12-816666-6.00011-2.

[47]	Government of Vietnam, “Cooperative Law: Pursuant to the Constitution of the Socialist Republic of Vietnam 1992 amended, amending and supplemented by a number of articles under Resolution No.51/2001/QH10,” 2012. Accessed: Jul. 11, 2021. [Online]. Available: https://www.google.com/.

[48]	World Bank, “World Bank Group Support to Public-Private Partnerships: Lessons from Experience in Client Countries, FY02-12,” The World Bank, Dec. 2015. doi: 10.1596/978-1-4648-0630-8.

[49]    European Climate Foundation, “Green Infrastructure Investment Opportunities: Vietnam 2019 Report”, 2019. Accessed: Jul. 17, 2021. [Online]. Available: https://www.climatebonds.net/files/reports/final_english_giio_vietnam_report.pdf

[50]    H. Hatashima & U. Demberel, “What is blended finance, and how can it help deliver successful high-impact, high-risk projects?”, World Bank, 2020. Accessed: Jul. 18, 2021. [Online]. Available: https://ieg.worldbankgroup.org/blog/what-blended-finance-and-how-can-it-help-deliver-successful-high-impact-high-risk-projects

[51]     IFC, “Blended Concessional Finance”, 2021. Accessed: Jul. 18, 2021. [Online]. Available: https://www.ifc.org/wps/wcm/connect/topics_ext_content/ifc_external_corporate_site/bf

[52]	Asian Development Bank, “Business Models to Realize the Potential of Renewable Energy and Energy Efficiency in the Greater Mekong Subregion,” 2015. Accessed: Jun. 19, 2021. [Online]. Available: www.adb.org.

[53]	B. E. Sar, M. Chea, and C. Ung, “Public-Private Partnerships in Cambodia: Issues and Solution,” Open J. Bus. Manag., vol. 08, no. 03, pp. 1216–1225, 2020, doi: 10.4236/ojbm.2020.83078.

[54]	Asian Development Bank, “Lao PDR Public-Private Partnership Policy,” 2018.

[55]	Asian Development Bank, “ADB, China Everbright International Facilitate Clean Waste-to-Energy PPP in Viet Nam”, 2021.  Accessed: Jun. 20, 2021. [Online]. Available: https://www.adb.org/news/adb-china-everbright-international-facilitate-clean-waste-energy-ppp-viet-nam.

[56]	World Bank, “Public-Private Partnerships Reference Guide,” 2014. Accessed: Sep. 07, 2021. [Online]. Available: https://documents1.worldbank.org/curated/en/600511468336720455/pdf/903840PPP0Refe0Box385311B000PUBLIC0.pdf